## Slide 1
Optical Trackers
Vincenzo Ferrari
Dipartimento Ingegneria dell’Informazione - Università di Pisa

## Slide 2: Pinhole camera

## Slide 3: Approximation of the light with rays
Dimensions >> light wavelenght  geometric opctics approx OK!
Visible light wavelenght 700 nm – 400 nm

## Slide 4: Pinhole camera

## Slide 5: Pinhole camera

## Slide 6: We need a lens

## Slide 7: We need a lens

## Slide 8: How a spherical lens work

## Slide 9: Refraction

## Slide 10: Refraction

## Slide 11: Spherical lenses approximation

## Slide 12: Pinhole approximation
CP

## Slide 13: Pinhole camera model
CP

## Slide 14: Pinhole camera model
CP

## Slide 15
(Xpp,Ypp)
3D point
2Dpoint

## Slide 16
(Xpp,Ypp)
3D point
2Dpoint

## Slide 17: Pixelizzation: from mm to pixels
Matrice di proiezione con dimensioni fisiche
Matrice di proiezione con dimensioni in pixel
Il pixel è adimensionale, quindi torna che possa moltiplicare per un λ

## Slide 18: Lens distortion compensation

## Slide 19: Camera calibration: intrinsic parameters
OpenCV, Matlab (Computer Vision Toobox)
Zhang’s method
  Lens distortion model
  Center of projection
  Focal lenght
  ….

## Slide 20: Monoscopic localization of objects
PnP problem
-3 points: unique solution not guaranteed
-4 points on a plane: unique solution guaranteed
-6 points everywhere: unique solution guaranteed

## Slide 21
Esercitazione matlab

## Slide 22: Puntualizzazione…

## Slide 23
Notes: We can mitigate the parallax issues via software using a simple homographyc function that, knowing the typical working distance, allows to determine the trasformation between a point acquired by the camera to the display preserving the perspective on the homographyc plane

## Slide 25: Stereo triangulation

## Slide 26: Infrared tracking systems
http://www.ndigital.com/
https://www.youtube.com/watch?v=xDxSte0eZRM