## Slide 1: Image Guided Surgery

## Slide 2: REGISTRATION TASK: rigid body
3D model extraction (segmentation)
u
v
w
x
y
z
RefSR
RefRD
Registration

## Slide 3: Rigid Body Registration: point based

## Slide 5
VIDEO DIMA

## Slide 6: Rigid Body Registration: shape based

## Slide 7: ICP Algorithm
For the more general class of 3D to 3D registration problems, the correspondences between {Pi} and {P’i} are unknown a priori.
The iterative closest point (ICP) algorithm proposed in [Besl and McKay, 1992] is one approach for solving this class of problems.
(0. Perform a rough initial alignment!!!)
Initialize the cumulative transformation parameters R and T to the identity transformation. Reset the iteration counter, k, to zero.
For each discrete point Pi in the Data set, compute the closest point (in terms of Euclidean distance) P’i which lies on the surface of the Model.
Using the correspondences from step 2, find a rotation, Rk, and a translation, Tk, which minimize a cost function via a point registration method (e.g. min LSE).
Apply the incremental transformation from step 3 to all Data points, Pi . Update the cumulative transformation parameters R and T based upon the incremental transformations, Rk and Tk.
If a stopping criterion is satisfied (e.g.: if the incremental rotation and translation relative magnitudes are both less than thresholds), terminate, else go to step 2.
Fast and Accurate Shape-Based Registration. David A. Simon

## Slide 8
Esempio Matlab
Slide VOSTARS

## Slide 9
VOSTARS
Video-Optical See-Through Augmented Reality surgical System
funded European project
Augmented view of the operating field: patient's anatomy, target region, risk regions, vital parameters.
First hybrid see-through HMD surgical navigator
Stereo images simultaneously captured
Registration of CT/MRI information:
- directly in the operating room (no need to attach reference structures during pre-operative imaging)
- no patient-specific supports (e.g. dental dimes) - no need to acquire the facial surface by using a pointer (slow and error-prone)
<<
Rough registration using anatomical references (eyes - nose)
Registration refinement using ICP
<<
3D stereo reconstruction
MRI/CT model

## Slide 16
https://www.youtube.com/watch?v=unvPe91lrB0

## Slide 19: IGI - Assumptions can Kill
What happens if the data acquisition process doesn’t match our assumptions?
An acquisition which is biased by a rigid transformation can have serious implications as the algorithm cannot detect this situation and will compensate for the bias: